## v9 format
Unique ID | Sample ID | Lab ID | Town | Event | Station | EventStartDate | EventStartTime | EventStopDate | EventStopTime | EventVolume_L | EventVolumeSampled_L | %EventSample | TP_ug/L | TDP_ug/L | DRP_ug/L | TN_mg/L | TDN_mg/L | Symbol | NO3+NO2_mg/L | Symbol | NH3_mg/L | Symbol | TSS_mg/L | Symbol | Chloride_mg/L | TP Load_g | TDP Load_g | DRP Load_g | TN Load_g | TDN Load_g | NO3+NO2 Load_g | NH3 Load_g | TSS Load_Kg | Chloride Load_Kg | Consider excluding | Note | SumOfPrecip_in | SumOfPrecip_in_1Hr | SumOfPrecip_in_2Hr | SumOfPrecip_in_3Hr
CHA1-1-B3 | CHA1-011418-B3 | 180026-01 | CHA | 1 | CHA1 | 2018-01-11 | 14:45 | 2018-01-13 | 3:15 | 544232.0167 | 544232.0167 | 100 | 3030 | 3210 | NS | 11.37 | 10.57 |  | 2.32 |  | 6.25 |  | 22.2 |  | 127 | 1649.023 | 1746.9848 | NS | 6187.918 | 5752.5324 | 1262.6183 | 3401.4501 | 12.082 | 69.1175 |  | Flume had been cleared of snow on 1/10 prior to runoff event. Started remotely before runoff began. Stopped remotely a bit prematurely. | 0.71 | 0.71 | 0.71 | 0.71
CHA2-1-B3 | CHA2-011418-B3 | 180026-02 | CHA | 1 | CHA2 | 2018-01-11 | 12:21 | 2018-01-13 | 5:03 | 892567.2586 | 884065.155 | 99.0475 | 2832 | 2886 | NS | 11.47 | 10.97 |  | 3.25 |  | 5.55 |  | 42.6 |  | 116 | 2527.7505 | 2575.9491 | NS | 10237.7465 | 9791.4628 | 2900.8436 | 4953.7483 | 38.0234 | 103.5378 |  | Flume had been cleared of snow on 1/10 prior to runoff event. Sample turned on remotely ~ 1 hr after runoff event had commenced. Stopped remotely a bit prematurely. Ice correction on tail sloped to zero. | 0.71 | 0.71 | 0.71 | 0.71
CHA1-2-NS | NA | NA | CHA | 2 | CHA1 | 2018-01-23 | 14:30 | 2018-01-24 | 7:00 | 101528.1767 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | No sampling record | 0.15 | 0.23 | 0.26 | 0.26
CHA2-2-NS | NA | NA | CHA | 2 | CHA2 | 2018-01-23 | 11:30 | 2018-01-24 | 8:30 | 234569.7566 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | No sampling record. Ice correction on tail sloped to zero. | 0.15 | 0.23 | 0.26 | 0.26
CHA1-3-NS | NA | NA | CHA | 3 | CHA1 | 2018-01-27 | 23:15 | 2018-01-29 | 4:45 | 28983.0949 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Small event. No sampling record. | 0 | 0 | 0 | 0
CHA2-3-NS | NA | NA | CHA | 3 | CHA2 | 2018-01-27 | 19:18 | 2018-01-29 | 10:00 | 139357.8873 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | No sampling record. Ice correction on tail sloped to zero. | 0 | 0 | 0 | 0
CHA1-4-NS | NA | NA | CHA | 4 | CHA1 | 2018-02-15 | 13:00 | 2018-02-16 | 19:00 | 162687.9899 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | No sampling record | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-4-NS | NA | NA | CHA | 4 | CHA2 | 2018-02-15 | 13:30 | 2018-02-16 | 19:00 | 395456.8874 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | No sampling record. Ice correction on tail sloped to zero. | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-5-B3 | CHA1-022218-B3 | 180226-01 | CHA | 5 | CHA1 | 2018-02-19 | 13:45 | 2018-02-22 | 5:30 | 253845.3608 | 129816.5532 | 51.14 | 835.2 | 733.5 | 694 | 6.61 | 6.07 |  | 1.05 |  | 3.04 |  | 9.6 |  | 88.5 | 212.0116 | 186.1956 | 176.1687 | 1677.9178 | 1540.8413 | 266.5376 | 771.6899 | 2.4369 | 22.4653 | Low %sampled | Sampler start remotely well after start of event | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-5-B3 | CHA2-022218-B3 | 180226-02 | CHA | 5 | CHA2 | 2018-02-19 | 12:30 | 2018-02-22 | 5:30 | 443897.861 | 203009.1596 | 45.7333 | 719.2 | 657.6 | 589 | 6.01 | 6.02 |  | 1.04 |  | 2.78 |  | 5.6 |  | 284 | 319.2513 | 291.9072 | 261.4558 | 2667.8261 | 2672.2651 | 461.6538 | 1234.0361 | 2.4858 | 126.067 | Low %sampled | Sampler start remotely well after start of event. Ice correction on tail sloped to zero. | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-6-NS | NA | NA | CHA | 6 | CHA1 | 2018-02-25 | 16:15 | 2018-02-27 | 2:15 | 15271.7958 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Insufficient volume at CHA2--both samples dumped | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-6-NS | NA | NA | CHA | 6 | CHA2 | 2018-02-25 | 13:00 | 2018-02-27 | 3:02 | 49250.2021 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Insufficient volume at CHA2--both samples dumped | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-7-NS | NA | NA | CHA | 7 | CHA1 | 2018-03-04 | 11:30 | 2018-03-08 | 3:15 | 61245.7604 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Missed melt event. | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-7-NS | NA | NA | CHA | 7 | CHA2 | 2018-03-03 | 19:45 | 2018-03-08 | 3:15 | 122429.5983 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Missed melt event. Ice correction on tail sloped to zero. | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-8-NS | NA | NA | CHA | 8 | CHA1 | 2018-03-24 | 10:00 | 2018-03-25 | 4:30 | 6902.4196 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Missed event. | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-8-NS | NA | NA | CHA | 8 | CHA2 | 2018-03-23 | 16:00 | 2018-03-25 | 12:00 | 18522.5706 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Missed event. | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-9-B3 | CHA1-033118-B3 | 180431-01 | CHA | 9 | CHA1 | 2018-03-25 | 8:30 | 2018-03-31 | 3:45 | 667667.6526 | 665938.1104 | 99.741 | 476 | 432 | 386 | 3.72 | 3.56 |  | 2.54 |  | 0.302 |  | 12.86 |  | 122 | 317.8098 | 288.4324 | 257.7197 | 2483.7237 | 2376.8968 | 1695.8758 | 201.6356 | 8.5862 | 81.4555 |  | Sampler started remotely after melting event began. | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-9-B3 | CHA2-033118-B3 | 180431-02 | CHA | 9 | CHA2 | 2018-03-25 | 12:30 | 2018-03-31 | 5:00 | 1020366.6515 | 1019360.1333 | 99.9014 | 833 | 740 | 675 | 3.52 | 3.26 |  | 1.86 |  | 0.059 |  | 16 |  | 178.2 | 849.9654 | 755.0713 | 688.7475 | 3591.6906 | 3326.3953 | 1897.882 | 60.2016 | 16.3259 | 181.8293 |  | Sampler started remotely after melting event began. | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-10-NS | NA | NA | CHA | 10 | CHA1 | 2018-04-04 | 8:00 | 2018-04-04 | 21:00 | 8003.3501 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Insufficient volume for sample. | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-10-NS | NA | NA | CHA | 10 | CHA2 | 2018-04-04 | 6:45 | 2018-04-04 | 21:30 | 9504.629 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Insufficient volume for sample. | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-11-B3 | CHA1-041618-B3 | 180629-01 | CHA | 11 | CHA1 | 2018-04-12 | 21:00 | 2018-04-14 | 16:45 | 128785.7449 | 128785.7449 | 100 | 475 | 315 | 262 | 3.5 | 3.02 |  | 1.45 |  | 0.134 |  | 91 |  | 164 | 61.1732 | 40.5675 | 33.7419 | 450.7501 | 388.9329 | 186.7393 | 17.2573 | 11.7195 | 21.1209 |  | Last squirt falls in next event | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-11-B3 | CHA2-041618-B3 | 180629-02 | CHA | 11 | CHA2 | 2018-04-12 | 19:45 | 2018-04-14 | 17:30 | 168945.1348 | 168945.1348 | 100 | 862 | 540 | 465 | 5.72 | 4.78 |  | 3 |  | 0.113 |  | 257 |  | 545 | 145.6307 | 91.2304 | 78.5595 | 966.3662 | 807.5577 | 506.8354 | 19.0908 | 43.4189 | 92.0751 |  | Last squirt falls in next event | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-12-B3 | CHA1-042218-B3 | 180655-01 | CHA | 12 | CHA1 | 2018-04-16 | 1:15 | 2018-04-19 | 12:15 | 609208.1271 | 598553.8413 | 98.2511 | 450 | 416 | 362 | 1.98 | 1.94 |  | 1.1 |  | 0.143 |  | 10.4 |  | 174 | 274.1437 | 253.4306 | 220.5333 | 1206.2321 | 1181.8638 | 670.1289 | 87.1168 | 6.3358 | 106.0022 |  | Event begins a little before sampler; contains one squirt from prior event | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-12-B3 | CHA2-042218-B3 | 180655-02 | CHA | 12 | CHA2 | 2018-04-16 | 3:15 | 2018-04-19 | 12:00 | 807403.9388 | 799423.5733 | 99.0116 | 757.5 | 644 | 639 | 3.57 | 3.3 |  | 2.26 |  | 0.107 |  | 97.6 |  | 119.5 | 611.6085 | 519.9681 | 515.9311 | 2882.4321 | 2664.433 | 1824.7329 | 86.3922 | 78.8026 | 96.4848 |  | Event begins a little before sampler; contains one squirt from prior event | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-13-B3 | CHA1-042718-B3 | 180697-01 | CHA | 13 | CHA1 | 2018-04-25 | 17:15 | 2018-04-27 | 12:45 | 195503.4512 | 195503.4512 | 100 | 618 | 453.5 |  | 2.3 | 2.12 |  | 0.25 | < | 0.05 |  | 51.5 |  | 176 | 120.8211 | 88.6608 | NS | 449.6579 | 414.4673 | 48.8759 | 9.7752 | 10.0684 | 34.4086 |  |  | NO DATA | NO DATA | NO DATA | NO DATA
CHA2-13-B3 | CHA2-042718-B3 | 180697-02 | CHA | 13 | CHA2 | 2018-04-25 | 15:00 | 2018-04-27 | 12:30 | 234283.9037 | 234283.9037 | 100 | 853 | 788.8 |  | 3.32 | 2.68 |  | 0.82 |  | 0.058 |  | 68 |  | 158 | 199.8442 | 184.8031 | NS | 777.8226 | 627.8809 | 192.1128 | 13.5885 | 15.9313 | 37.0169 |  |  | NO DATA | NO DATA | NO DATA | NO DATA
CHA1-14-B3 | CHA1-050218-B3 | 180733-01 | CHA | 14 | CHA1 | 2018-04-27 | 13:00 | 2018-05-01 | 14:30 | 364696.6428 | 364696.6428 | 100 | 580 | 396 | 337 | 1.54 | 1.16 | < | 0.05 | < | 0.05 |  | 102 |  | 116 | 211.5241 | 144.4199 | 122.9028 | 561.6328 | 423.0481 | 18.2348 | 18.2348 | 37.1991 | 42.3048 |  |  | 1.01 | 1.01 | 1.01 | 1.01
CHA2-14-B3 | CHA2-050218-B3 | 180733-02 | CHA | 14 | CHA2 | 2018-04-27 | 12:45 | 2018-05-01 | 16:00 | 521008.6375 | 521008.6375 | 100 | 880 | 612 | 542 | 2.14 | 1.51 |  | 0.12 | < | 0.05 |  | 126 |  | 119 | 458.4876 | 318.8573 | 282.3867 | 1114.9585 | 786.723 | 62.521 | 26.0504 | 65.6471 | 62 |  |  | 1.01 | 1.01 | 1.01 | 1.01
CHA1-15-B3 | CHA1-050718-B3 | 180754-01 | CHA | 15 | CHA1 | 2018-05-04 | 19:13 | 2018-05-05 | 12:45 | 347385.3197 | 347385.3197 | 100 | 1715 | 398.8 | 340 | 3.91 | 1.01 |  | 0.07 |  | 0.11 |  | 1206.67 |  | 51 | 595.7658 | 138.5373 | 118.111 | 1358.2766 | 350.8592 | 24.317 | 38.2124 | 419.1794 | 17.7167 |  |  | 1.1 | 1.1 | 1.11 | 1.11
CHA2-15-B3 | CHA2-050718-B3 | 180754-02 | CHA | 15 | CHA2 | 2018-05-04 | 19:00 | 2018-05-05 | 13:15 | 460661.4904 | 460661.4904 | 100 | 1745 | 550 | 477 | 5.15 | 1.29 |  | 0.15 |  | 0.159 |  | 2500 |  | 58.5 | 803.8543 | 253.3638 | 219.7355 | 2372.4067 | 594.2533 | 69.0992 | 73.2452 | 1151.6537 | 26.9487 |  |  | 1.1 | 1.1 | 1.11 | 1.11
CHA2-16-NS | NA | NA | CHA | 16 | CHA2 | 2018-10-02 | 22:00 | 2018-10-03 | 12:00 | 10672.4839 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Unpaired event--dumped sample. | 0.33 | 0.36 | 0.36 | 0.47
CHA2-17-NS | NA | NA | CHA | 17 | CHA2 | 2018-10-11 | 11:45 | 2018-10-12 | 5:00 | 15084.9808 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Unpaired event--dumped sample. | 0.29 | 0.34 | 0.34 | 0.34
CHA2-18-NS | NA | NA | CHA | 18 | CHA2 | 2018-10-27 | 15:15 | 2018-10-28 | 19:19 | 40652.2756 | NS | NS | NS | NS | NS | NS | NS |  | NS |  | NS |  | NS |  | NS | NS | NS | NS | NS | NS | NS | NS | NS | NS |  | Unpaired event--dumped sample. | 0.52 | 0.68 | 0.71 | 0.71
CHA1-19-B3 | CHA1-110518-B3 | 182306-01 | CHA | 19 | CHA1 | 2018-11-02 | 3:30 | 2018-11-04 | 3:45 | 225259.2108 | 225259.2108 | 100 | 1062 | 510 | 499 | 17.66 | 8.81 |  | 13.9 |  | 0.14 |  | 61 |  | 100 | 239.2253 | 114.8822 | 112.4043 | 3978.0777 | 1984.5336 | 3131.103 | 31.5363 | 13.7408 | 22.5259 |  |  | 1.93 | 1.96 | 1.97 | 2
CHA2-19-B3 | CHA2-110518-B3 | 182306-02 | CHA | 19 | CHA2 | 2018-11-01 | 20:00 | 2018-11-04 | 17:45 | 455925.0497 | 455925.0497 | 100 | 1080 | 540 | 647 | 9.5 | 4.67 |  | 6.86 |  | 0.1 |  | 33.8 |  | 118 | 492.3991 | 246.1995 | 294.9835 | 4331.288 | 2129.17 | 3127.6458 | 45.5925 | 15.4103 | 53.7992 |  |  | 1.93 | 1.96 | 1.97 | 2
CHA1-20-A1 | CHA1-110718-A1 | 182333-02 | CHA | 20 | CHA1 | 2018-11-06 | 16:00 | 2018-11-07 | 5:45 | 23762.2849 | 23762.2849 | 100 | 405.5 | 298 | 242 | 10.59 | 8.88 |  | 8.49 | < | 0.05 |  | 36.8 |  | 66.2 | 9.6356 | 7.0812 | 5.7505 | 251.6426 | 211.0091 | 201.7418 | 1.1881 | 0.87445 | 1.5731 |  |  | 0.25 | 0.29 | 0.29 | 0.29
CHA2-20-A1 | CHA2-110718-A1 | 182333-01 | CHA | 20 | CHA2 | 2018-11-06 | 12:30 | 2018-11-08 | 16:45 | 76157.2322 | 76157.2322 | 100 | 515 | 345 | 324 | 4.03 | 3.56 |  | 2.52 |  | 0.058 |  | 42.4 |  | 65.9 | 39.221 | 26.2742 | 24.6749 | 306.9136 | 271.1197 | 191.9162 | 4.4171 | 3.2291 | 5.0188 |  | Event may end slightly after sampling ends. Per field sheet, it was still running during visit. | 0.25 | 0.29 | 0.29 | 0.29
CHA1-21-A1+A2 | CHA1-111318-A1+A2 | 182347-01 | CHA | 21 | CHA1 | 2018-11-09 | 22:15 | 2018-11-10 | 21:15 | 96114.6958 | 96114.6958 | 100 | 459 | 368.5 | 251 | 5.99 | 5.68 |  | NS | < | 0.05 |  | 32.8 |  | 59.6 | 44.1166 | 35.4183 | 24.1248 | 575.727 | 545.9315 | NS | 4.8057 | 3.1526 | 5.7284 |  |  | 0.51 | 0.57 | 0.59 | 0.59
CHA2-21-A1+A2 | CHA2-111318-A1+A2 | 182347-02 | CHA | 21 | CHA2 | 2018-11-09 | 18:00 | 2018-11-11 | 13:30 | 185648.2168 | 185648.2168 | 100 | 438 | 362 | 302 | 4.83 | 4.56 |  | NS | < | 0.05 |  | 20.8 |  | 55.4 | 81.3139 | 67.2047 | 56.0658 | 896.6809 | 846.5559 | NS | 9.2824 | 3.8615 | 10.2849 |  | Sampler shut off before event ends. Used photos to verify second small rise is real flow. | 0.51 | 0.57 | 0.59 | 0.59
CHA1-22-A1 | CHA1-111518-A1 | 182364-01 | CHA | 22 | CHA1 | 2018-11-13 | 14:45 | 2018-11-14 | 3:45 | 25650.2106 | 25650.2106 | 100 | 287 | 232.2 | 206 | 4.88 | 4.68 |  | 4.25 |  | 0.079 |  | 10.33 |  | 80.3 | 7.3616 | 5.956 | 5.2839 | 125.173 | 120.043 | 109.0134 | 2.0264 | 0.26497 | 2.0597 |  |  | 0.34 | 0.37 | 0.39 | 0.4
CHA2-22-A1 | CHA2-111518-A1 | 182364-02 | CHA | 22 | CHA2 | 2018-11-13 | 7:15 | 2018-11-14 | 5:30 | 65095.6208 | 65095.6208 | 100 | 327.5 | 256.8 | 243 | 3.65 | 3.41 |  | 2.6 |  | 0.055 |  | 16.8 |  | 80.1 | 21.3188 | 16.7166 | 15.8182 | 237.599 | 221.9761 | 169.2486 | 3.5803 | 1.0936 | 5.2142 |  | Calling first rise real. | 0.34 | 0.37 | 0.39 | 0.4
CHA1-23-A1+A2 | CHA1-113018-A1+A2 | 182414-01 | CHA | 23 | CHA1 | 2018-11-25 | 14:30 | 2018-12-02 | 5:15 | 472246.6856 | 173017.2479 | 36.637 | 319.5 | 222 | NS | 3.79 | 3.33 |  | 2.94 | < | 0.05 |  | 14.33 |  | 165 | 150.8828 | 104.8388 | NS | 1789.8149 | 1572.5815 | 1388.4053 | 23.6123 | 6.7673 | 77.9207 | Low % sampled | Did not sample until second smowmelt rise due to broken modem. Sampler shut down a bit prematurely. | 1.01 | 1.04 | 1.05 | 1.09
CHA2-23-B3 | CHA2-113018-B3 | 182414-02 | CHA | 23 | CHA2 | 2018-11-25 | 10:00 | 2018-12-02 | 4:57 | 868120.5398 | 325412.4872 | 37.4847 | 296.4 | 232 | NS | 3.89 | 3.65 |  | 3.24 | < | 0.05 |  | 2 |  | 205 | 257.3109 | 201.404 | NS | 3376.9889 | 3168.64 | 2812.7105 | 43.406 | 1.7362 | 177.9647 | Low % sampled | Did not sample until second smowmelt rise due to broken modem. Sampler shut down a bit prematurely. | 1.01 | 1.04 | 1.05 | 1.09
CHA1-24-B3 | CHA1-120418-B3 | 182421-03 | CHA | 24 | CHA1 | 2018-12-02 | 5:15 | 2018-12-04 | 6:30 | 330504.7453 | 330457.2562 | 99.9856 | 375.5 | 226 | 205.5 | 2.52 | 2.13 |  | 1.42 | < | 0.05 |  | 42.75 |  | 78.6 | 124.1045 | 74.6941 | 67.9187 | 832.872 | 703.9751 | 469.3167 | 16.5252 | 14.1291 | 25.9777 |  | Third rise of 3. Start of event forced to zero to diistinguish from prior melt rise. | 0.41 | 0.41 | 0.41 | 0.41
CHA2-24-B3 | CHA2-120418-B3 | 182421-01 | CHA | 24 | CHA2 | 2018-12-02 | 4:57 | 2018-12-04 | 9:30 | 490517.8992 | 490517.8992 | 100 | 333.25 | 274.8 | 256.5 | 2.89 | 2.66 |  | 1.94 | < | 0.05 |  | 17.21 |  | 152 | 163.4651 | 134.7943 | 125.8178 | 1417.5967 | 1304.7776 | 951.6047 | 24.5259 | 8.4418 | 74.5587 |  | Third rise of 3. Start of event forced to zero to diistinguish from prior melt rise. | 0.41 | 0.41 | 0.41 | 0.41
CHA1-25-B3 | CHA1-122418-B3 | 182484-01 | CHA | 25 | CHA1 | 2018-12-21 | 11:15 | 2018-12-23 | 4:00 | 366562.175 | 366562.175 | 100 | 401 | 298.2 | 260.7 | 4.75 | 3.96 |  | 3.24 |  | 0.118 |  | 22 |  | 66.5 | 146.9914 | 109.3088 | 95.5628 | 1741.1703 | 1451.5862 | 1187.6614 | 43.2543 | 8.0644 | 24.3764 |  |  | 1.16 | 1.21 | 1.25 | 1.26
CHA2-25-B3 | CHA2-122418-B3 | 182484-02 | CHA | 25 | CHA2 | 2018-12-21 | 1:30 | 2018-12-23 | 4:00 | 477169.3929 | 477169.3929 | 100 | 426 | 327 | 294.9 | 4.19 | 3.58 |  | 2.74 |  | 0.107 |  | 38.67 |  | 118 | 203.2742 | 156.0344 | 140.7173 | 1999.3398 | 1708.2664 | 1307.4441 | 51.0571 | 18.4521 | 56.306 |  | Ice correction on tail sloped to zero. | 1.16 | 1.21 | 1.25 | 1.26
CHA1-26-A1 | CHA1-123118-A1 | 182499-02 | CHA | 26 | CHA1 | 2018-12-28 | 15:45 | 2018-12-29 | 19:45 | 65291.7366 | 65291.7366 | 100 | 260 | 228 | NS | NS | NS |  | 2.46 |  | 0.092 |  | 18 |  | 156 | 16.9759 | 14.8865 | NS | NS | NS | 160.6177 | 6.0068 | 1.1753 | 10.1855 |  |  | 0.08 | 0.08 | 0.09 | 0.19
CHA2-26-A1 | CHA2-123118-A1 | 182499-01 | CHA | 26 | CHA2 | 2018-12-28 | 12:15 | 2018-12-29 | 19:00 | 82078.3344 | 82078.3344 | 100 | 253 | 216 | NS | NS | NS |  | NS |  | 0.142 |  | 9 |  | 312 | 20.7658 | 17.7289 | NS | NS | NS | NS | 11.6551 | 0.73871 | 25.6084 |  |  | 0.08 | 0.08 | 0.09 | 0.19